# ## Graph Label Requirements

Header:

“Pressure Vessels”

“Dangerous gas”

“Vessels that fall within categories I or II and that are intended to contain an unstable gas, shall be classified as category III (see figure 1).”

Footer: “Figure 1 — Graph for vessels — Dangerous gas”

Header:

“Pressure Vessels”

“Non-dangerous gas”

“Portable fire extinguishers up to 3 000 kPa shall be classified as at least category III (see figure 2).”

Footer: “Figure 2 — Graph for vessels — Non-dangerous gas”

Header:

“Pressure Vessels”

”Dangerous liquids”

“Figure 3 shows the various categories for dangerous liquids contained in vessels.”

Footer: “Figure 3 — Graph for vessels — Dangerous liquids”

Header:

“Pressure Vessels”

“Non-dangerous liquids”

“Assemblies intended for generating warm water shall be subjected to a type approval. See table 2 category 3 for warm water.”

Footer: “Figure 4 — Graph for vessels — Non-dangerous liquids”

Header:

“Steam generators”

“The design of jacketed pressure cookers shall be subjected to a conformity assessment procedure equivalent to at least one of the category III modules (see figure 5).”

Footer: “Figure 5 — Graph for steam generators”

Header:

“Piping”

“Dangerous gas”

“Piping that is intended for unstable gases that fall within categories I or II shall be classified as category III (see figure 6).”

Footer: “Figure 6 — Graph for piping — Dangerous gas”

Header:

“Piping”

“ Non-dangerous gas”

“All piping that contains fluids at a temperature greater than 350 °C (not applicable to non-metallic piping) and that falls into category II shall be classified as category III (see figure 7).”

Footer: “Figure 7 — Graph for piping — Non-dangerous gas”

Header:

“Piping”

“Dangerous liquids”

"Text: “Figure 8 shows the various categories for dangerous liquids contained in piping.”

Footer: “Figure 8 — Graph for piping — Dangerous liquids”

Header:

“Piping”

“Non-dangerous liquids”

“Figure 9 shows the various categories for non-dangerous liquids contained in piping.”

Footer: “Figure 9 — Graph for piping — Non-dangerous liquids”